## TOC
Sheet_name | Content
Cost Review | Data collected for alkaline and PEM electrolyzer
Result | Cost reduction potential result produced
Data conversion | Values used in this analysis for conversion
Reference | Categorization of all sources used for cost review

## Cost review
no | database | key | reference_year | Remark | publication_type | method | electrolyser_type | year_of_estimate | cost_low | cost_medium | cost_high | cost | cost_unit | plant_size | plant_size_unit | system_size | system_size_unit | efficiency | efficiency_unit
1 | PCBZPPTE | PNC5E4P4 | 1992 | Norsk Hydro | Journal | Manufacturer | Alkaline | 1992 | 666 | 853 | 1007 | 842 | USD/kW | 100 | MW |  |  | 78 | HHV %
2 | PCBZPPTE | PNC5E4P4 | 1992 | Lurgi S556 | Journal | Manufacturer | Alkaline | 1992 | 856 | 1057 | 1247 | 1053.3333 | USD/kW | 100 | MW |  |  | 81 | HHV %
3 | PCBZPPTE | VHXNQH2L | 1995 | DOE Projection | Report | Forecast | PEM | 2020 | 1700 | 1808 | 2130 | 1879.3333 | USD/kW
4 | PCBZPPTE | VHXNQH2L | 1995 | DOE Projection | Report | Forecast | PEM | 2000 | 2000 | 2222 | 2622 | 2281.3333 | USD/kW
5 | PCBZPPTE | VHXNQH2L | 1995 | DOE Projection | Report | Forecast | PEM | 1995 | 2400 | 2758 | 3255 | 2804.3333 | USD/kW
6 | PCBZPPTE | VHXNQH2L | 1995 | DOE Projection | Report | Forecast | Alkaline | 2020 | 300 | 333 | 395 | 342.6667 | USD/kW |  |  |  |  | 90 | HHV %
7 | PCBZPPTE | VHXNQH2L | 1995 | DOE Projection | Report | Forecast | Alkaline | 2000 | 350 | 437 | 469 | 418.6667 | USD/kW |  |  |  |  | 88 | HHV %
8 | PCBZPPTE | VHXNQH2L | 1995 | DOE Projection | Report | Forecast | Alkaline | 1995 | 500 | 625 | 737 | 620.6667 | USD/kW |  |  |  |  | 80 | HHV %
9 | PCBZPPTE | VHXNQH2L | 1995 | Fluor Daniel | Report | Manufacturer | Alkaline | 1995 | 968 | 1363 | 1600 | 1310.3333 | USD/kW | 100 | MW |  |  | 71 | HHV %
10 | PCBZPPTE | VHXNQH2L | 1995 | Electrolyser Corporation of Toronto | Report | Manufacturer | Alkaline | 1995 | 395 | 494 | 590 | 493 | USD/kW | 100 | MW |  |  | 80 | HHV %
11 | PCBZPPTE | VHXNQH2L | 1995 | Princeton | Report | Manufacturer | Alkaline | 1995 | 394 | 486 | 580 | 486.6667 | USD/kW | 10 | MW |  |  | 81 | HHV %
12 | PCBZPPTE | VHXNQH2L | 1995 | Lawrence Livermore | Report | Manufacturer | Alkaline | 1995 | 867 | 1070 | 1275 | 1070.6667 | USD/kW | 2.5 | MW |  |  | 81 | HHV %
13 | PCBZPPTE | VHXNQH2L | 1995 | Los Alamos | Report | Manufacturer | Alkaline | 1995 | 916 | 1146 | 1350 | 1137.3333 | USD/kW | 530 | MW |  |  | 81 | HHV %
14 | PCBZPPTE | VHXNQH2L | 1995 | Stone & Webster | Report | Manufacturer | PEM | 1995 |  |  | 850 | 850 | USD/kW | 10 | MW
15 | PCBZPPTE | VHXNQH2L | 1995 | Lawrence Livermore | Report | Manufacturer | PEM | 1995 | 994 | 1243 | 1480 | 1239 | USD/kW | 0.0025 | MW
16 | PCBZPPTE | VHXNQH2L | 1995 | General Electric | Report | Manufacturer | PEM | 1995 | 142 | 178 | 210 | 176.6667 | USD/kW | 50 | MW
17 | PCBZPPTE | VHXNQH2L | 1995 | Los Alamos | Report | Manufacturer | PEM | 1995 | 278 | 348 | 410 | 345.3333 | USD/kW | 530 | MW
18 | PCBZPPTE | VHXNQH2L | 1995 | Hamilton Standard | Report | Manufacturer | PEM | 1995 | 226 | 283 | 330 | 279.6667 | USD/kW | 0.011 | MW
19 | PCBZPPTE | VHXNQH2L | 1995 | DTI Projection | Report | Forecast | PEM | 1995 |  |  | 300 | 300 | USD/kW | 0.003 | MW
20 | PCBZPPTE | VHXNQH2L | 1995 | DOE/Energetics Projection | Report | Forecast | Alkaline | 1995 |  |  | 355 | 355 | USD/kW |  |  |  |  | 88 | HHV %
21 | PCBZPPTE | XLKIU5RX | 1996 | Manufacturing Estimate | Journal | Estimate | PEM | 1996 | 460 | 567 | 667 | 564.6667 | USD/kW
22 | PCBZPPTE | XLKIU5RX | 1996 | Manufacturing Estimate | Journal | Estimate | Alkaline | 1996 | 744 | 930 | 1049 | 907.6667 | USD/kW |  |  |  |  | 80 | HHV %
23 | PCBZPPTE | 2RU3FEG2 | 1997 |  | Journal | Estimate | Alkaline | 1997 | 600 | 857 | 1000 | 819 | USD/kW | 100 | MW |  |  | 70 | HHV %
24 | PCBZPPTE | 2RU3FEG2 | 1911 |  | Journal | Forecast | Alkaline | 1997 | 622 | 888 | 1036 | 848.6667 | USD/kW | 100 | MW |  |  | 70 | HHV %
25 | PCBZPPTE | 3KPB4V25 | 1998 | Scenario Comparison | Report | Forecast | Alkaline | 2000 | 600 | 731 | 1094 | 808.3333 | USD/kW | 10 | MW | 2 | MW | 82 | HHV %
26 | PCBZPPTE | 3KPB4V25 | 1998 | Scenario Comparison | Report | Forecast | Alkaline | 2010 | 300 | 344 | 406 | 350 | USD/kW | 10 | MW | 2 | MW | 87 | HHV %
27 | PCBZPPTE | I4DFCVKP | 2000 | Scenario Comparison | Journal | Estimate | Alkaline | 2000 | 730 | 1000 | 1140 | 956.6667 | USD/kW | 10 | MW |  |  | 73 | HHV %
28 | PCBZPPTE | I4DFCVKP | 2000 | Scenario Comparison | Journal | Forecast | Alkaline | 2020 | 539 | 700 | 831 | 690 | USD/kW | 10 | MW |  |  | 77 | HHV %
29 |  | IRXLZEEL | 1998 | Electrolyser Corporation of Toronto, Teledyne Brown (Baltimore) | Report | Manufacturer | Alkaline | 1998 | 450 |  | 500 | 475 | USD/kW | 10 | MW |  |  | 82 | HHV %
30 |  | IRXLZEEL | 1998 | Westinghouse Solid Oxide Fuel Cell Group (Pittsburgh | Report | Manufacturer | SOEC | 1998 | 2000 |  |  | 2000 | USD/kW | 200 | MW
31 |  | NS4DELDA | 2014 |  | Report | Bottom-up Analysis | Alkaline | 2012 | 1000 | 1100 | 1200 | 1100 | USD/kW | 1000 | MW | 3200 | kW | 62 | LHV %
32 |  | NS4DELDA | 2014 |  | Report | Estimate | PEM | 2012 | 1860 | 2090 | 2320 | 2090 | USD/kW | 1000 | MW | 180 | kW | 59 | LHV %
33 |  | NS4DELDA | 2014 |  | Report | Forecast | Alkaline | 2015 | 760 | 930 | 1100 | 930 | USD/kW |  |  | 3600 | kW | 63 | LHV %
34 |  | NS4DELDA | 2014 |  | Report | Forecast | PEM | 2015 | 1200 | 1570 | 1940 | 1570 | USD/kW |  |  | 2100 | kW | 63 | LHV %
35 |  | NS4DELDA | 2014 |  | Report | Forecast | Alkaline | 2020 | 370 | 630 | 900 | 633.3333 | USD/kW |  |  | 5500 | kW | 64 | LHV %
36 |  | NS4DELDA | 2014 |  | Report | Forecast | PEM | 2020 | 700 | 1000 | 1300 | 1000 | USD/kW |  |  | 5400 | kW | 68 | LHV %
37 |  | NS4DELDA | 2014 |  | Report | Forecast | Alkaline | 2025 | 370 | 610 | 850 | 610 | USD/kW | 1000 | MW | 6100 | kW | 65 | LHV %
38 |  | NS4DELDA | 2014 |  | Report | Forecast | PEM | 2025 | 480 | 870 | 1270 | 873.3333 | USD/kW | 1000 | MW | 5900 | kW | 69 | LHV %
39 |  | NS4DELDA | 2014 |  | Report | Forecast | Alkaline | 2030 | 370 | 580 | 800 | 583.3333 | USD/kW |  |  | 6700 | kW | 66 | LHV %
40 |  | NS4DELDA | 2014 |  | Report | Forecast | PEM | 2030 | 250 | 760 | 1270 | 760 | USD/kW |  |  | 6400 | kW | 71 | LHV %
41 | PCBZPPTE | NXDEHKBV | 2004 |  | Report | Estimate | PEM | 2004 | 3500 |  |  | 3500 | USD/kW
42 | PCBZPPTE | RQZXZ4U9 | 2005 |  | Journal | Estimate | Alkaline | 2005 | 470 | 671 | 783 | 641.3333 | USD/kW | 30 | MW |  |  | 80 | HHV %
43 | PCBZPPTE | Q7ESI3DJ | 2004 |  | Journal | Estimate | Alkaline | 2004 | 1443 | 2062 | 2405 | 1970 | USD/kW |  |  | 120 | Nm3/h | 70 | HHV %
44 | PCBZPPTE | JUMNYJ7L | 2008 | Simulation | Journal | Estimate | Alkaline | 2008 | 1150 | 1437 | 1691 | 1426 | USD/kW |  |  |  |  | 80 | HHV %
45 | PCBZPPTE | JUMNYJ7L | 2008 | Simulation | Journal | Estimate | PEM | 2008 | 4000 | 5000 | 5882 | 4960.6667 | USD/kW |  |  |  |  | 80 | HHV %
46 | PCBZPPTE | JUMNYJ7L | 2008 | Simulation | Journal | Estimate | Alkaline | 2020 | 500 | 602 | 714 | 605.3333 | USD/kW |  |  | 1 | MW | 83 | HHV %
47 | PCBZPPTE | JUMNYJ7L | 2008 | Simulation | Journal | Estimate | PEM | 2020 | 1000 | 1204 | 1428 | 1210.6667 | USD/kW |  |  | 500 | kW | 83 | HHV %
48 | PCBZPPTE | MHD2Z8W8 | 2011 |  | Journal | Manufacturer | Alkaline | 2011 | 1000 | 1333 | 1587 | 1306.6667 | USD/kW |  |  | 500 | Nm3/h | 75 | HHV %
49 |  | FUXIJFZK | 2017 |  | Report | Estimate | Alkaline | 2017 |  | 1200 |  | 1200 | USD/kW |  |  | 1 | MW | 58 | kWhe/kgH2
50 |  | FUXIJFZK | 2017 |  | Report | Estimate | Alkaline | 2017 |  | 830 |  | 830 | USD/kW |  |  | 5 | MW | 52 | kWhe/kgH2
51 |  | FUXIJFZK | 2017 |  | Report | Estimate | Alkaline | 2017 |  | 750 |  | 750 | USD/kW |  |  | 20 | MW | 51 | kWhe/kgH2
52 |  | FUXIJFZK | 2017 |  | Report | Forecast | Alkaline | 2025 |  | 900 |  | 900 | USD/kW |  |  | 1 | MW | 55 | kWhe/kgH2
53 |  | FUXIJFZK | 2017 |  | Report | Forecast | Alkaline | 2025 |  | 600 |  | 600 | USD/kW |  |  | 5 | MW | 50 | kWhe/kgH2
54 |  | FUXIJFZK | 2017 |  | Report | Forecast | Alkaline | 2025 |  | 480 |  | 480 | USD/kW |  |  | 20 | MW | 49 | kWhe/kgH2
55 |  | FUXIJFZK | 2017 |  | Report | Forecast | PEM | 2017 |  | 1500 |  | 1500 | USD/kW |  |  | 1 | MW | 63 | kWhe/kgH2
56 |  | FUXIJFZK | 2017 |  | Report | Forecast | PEM | 2017 |  | 1300 |  | 1300 | USD/kW |  |  | 5 | MW | 61 | kWhe/kgH2
57 |  | FUXIJFZK | 2017 |  | Report | Forecast | PEM | 2017 |  | 1200 |  | 1200 | USD/kW |  |  | 20 | MW | 58 | kWhe/kgH2
58 |  | FUXIJFZK | 2017 |  | Report | Forecast | PEM | 2025 |  | 1000 |  | 1000 | USD/kW |  |  | 1 | MW | 54 | kWhe/kgH2
59 |  | FUXIJFZK | 2017 |  | Report | Forecast | PEM | 2025 |  | 900 |  | 900 | USD/kW |  |  | 5 | MW | 53 | kWhe/kgH2
60 |  | FUXIJFZK | 2017 |  | Report | Forecast | PEM | 2025 |  | 7000 |  | 7000 | USD/kW |  |  | 20 | MW | 52 | kWhe/kgH2
61 | PCBZPPTE | F3SEFA3J | 2013 |  | Report | Estimate | PEM | 2013 | 350 |  |  | 350 | USD/kW | [5 empty] | HHV %
62 | PCBZPPTE | NZHWYHZM | 2014 |  | Report | Forecast | Alkaline | 2017 | 1328 | 1952 | 2304 | 1861.3333 | USD/kW |  |  |  |  | 68 | HHV %
63 | PCBZPPTE | NZHWYHZM | 2014 |  | Report | Forecast | Alkaline | 2030 | 608 | 868 | 1024 | 833.3333 | USD/kW |  |  |  |  | 70 | HHV %
64 | PCBZPPTE | NZHWYHZM | 2014 |  | Report | Forecast | PEM | 2017 | 1034 | 1498 | 1768 | 1433.3333 | USD/kW |  |  |  |  | 69 | HHV %
65 | PCBZPPTE | NZHWYHZM | 2014 |  | Report | Forecast | PEM | 2030 | 324 | 386 | 459 | 389.6667 | USD/kW |  |  |  |  | 84 | HHV %
66 | PCBZPPTE | EFIDKAZM | 2014 |  |  | Estimate | Alkaline | 2014 | 648 | 864 | 1028 | 846.6667 | USD/kW | 44 | MW |  |  | 75 | HHV %
67 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 2481.632 |  | 2481.632 | USD/kW |  |  | 13.6657 | kW | 72 | HHV %
68 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1899.9995 |  | 1899.9995 | USD/kW |  |  | 25.963 | kW | 72 | HHV %
69 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 5234.6925 |  | 5234.6925 | USD/kW |  |  | 29.2817 | kW | 72 | HHV %
70 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 4691.8355 |  | 4691.8355 | USD/kW |  |  | 33.8045 | kW | 72 | HHV %
71 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 6204.08 |  | 6204.08 | USD/kW |  |  | 33.8404 | kW | 72 | HHV %
72 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 4963.264 |  | 4963.264 | USD/kW |  |  | 35.1068 | kW | 72 | HHV %
73 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 3761.2235 |  | 3761.2235 | USD/kW |  |  | 43.5017 | kW | 72 | HHV %
74 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1318.367 |  | 1318.367 | USD/kW |  |  | 46.6835 | kW | 72 | HHV %
75 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 3140.8155 |  | 3140.8155 | USD/kW |  |  | 58.3898 | kW | 72 | HHV %
76 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 4614.2845 |  | 4614.2845 | USD/kW |  |  | 58.4247 | kW | 72 | HHV %
77 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 6436.733 |  | 6436.733 | USD/kW |  |  | 58.4679 | kW | 72 | HHV %
78 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1240.816 |  | 1240.816 | USD/kW |  |  | 82.9668 | kW | 72 | HHV %
79 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 3683.6725 |  | 3683.6725 | USD/kW |  |  | 106.9988 | kW | 72 | HHV %
80 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1279.5915 |  | 1279.5915 | USD/kW |  |  | 107.5897 | kW | 72 | HHV %
81 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 3722.448 |  | 3722.448 | USD/kW |  |  | 107.6476 | kW | 72 | HHV %
82 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 2210.2035 |  | 2210.2035 | USD/kW |  |  | 156.8558 | kW | 72 | HHV %
83 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 2326.53 |  | 2326.53 | USD/kW |  |  | 206.7506 | kW | 72 | HHV %
84 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 2946.938 |  | 2946.938 | USD/kW |  |  | 216.4845 | kW | 72 | HHV %
85 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1706.122 |  | 1706.122 | USD/kW |  |  | 303.2802 | kW | 72 | HHV %
86 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 3063.2645 |  | 3063.2645 | USD/kW |  |  | 377.8264 | kW | 72 | HHV %
87 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1938.775 |  | 1938.775 | USD/kW |  |  | 403.7177 | kW | 72 | HHV %
88 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 2248.979 |  | 2248.979 | USD/kW |  |  | 451.6732 | kW | 72 | HHV %
89 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1310.6383 |  | 1310.6383 | USD/kW |  |  | 500.9025 | kW | 72 | HHV %
90 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | Alkaline | 2004 |  | 1512.2445 |  | 1512.2445 | USD/kW |  |  | 600.0358 | kW | 72 | HHV %
91 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | PEM | 2004 |  | 25093.8732 |  | 25093.8732 | USD/kW |  |  | 14 | kW | 72 | HHV %
92 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | PEM | 2004 |  | 17668.224 |  | 17668.224 | USD/kW |  |  | 16 | kW | 72 | HHV %
93 | 7WGV57KQ |  | 2004 | (Zoulias et al., 2004) | Journal | Manufacturer | PEM | 2004 |  | 7023.0538 |  | 7023.0538 | USD/kW |  |  | 63 | kW | 72 | HHV %
94 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 1260.7987 |  | 1260.7987 | USD/kW |  |  | 1055.648 | kW | 72 | HHV %
95 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 1118.3648 |  | 1118.3648 | USD/kW |  |  | 1396.6526 | kW | 72 | HHV %
96 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 994.4283 |  | 994.4283 | USD/kW |  |  | 1703.6797 | kW | 72 | HHV %
97 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 864.9447 |  | 864.9447 | USD/kW |  |  | 1976.0339 | kW | 72 | HHV %
98 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 826.0603 |  | 826.0603 | USD/kW |  |  | 2906.7468 | kW | 72 | HHV %
99 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 794.5759 |  | 794.5759 | USD/kW |  |  | 3803.1612 | kW | 72 | HHV %
100 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 775.9875 |  | 775.9875 | USD/kW |  |  | 5804.3491 | kW | 72 | HHV %
101 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 759.2391 |  | 759.2391 | USD/kW |  |  | 8012.6653 | kW | 72 | HHV %
102 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 749.8891 |  | 749.8891 | USD/kW |  |  | 10221.1955 | kW | 72 | HHV %
103 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 738.6416 |  | 738.6416 | USD/kW |  |  | 13465.0461 | kW | 72 | HHV %
104 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 734.8211 |  | 734.8211 | USD/kW |  |  | 16087.8864 | kW | 72 | HHV %
105 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 727.3079 |  | 727.3079 | USD/kW |  |  | 18572.5698 | kW | 72 | HHV %
106 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 725.2141 |  | 725.2141 | USD/kW |  |  | 23852.9234 | kW | 72 | HHV %
107 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 717.5956 |  | 717.5956 | USD/kW |  |  | 28615.4295 | kW | 72 | HHV %
108 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 698.8492 |  | 698.8492 | USD/kW |  |  | 34033.3513 | kW | 72 | HHV %
109 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 687.4357 |  | 687.4357 | USD/kW |  |  | 40866.4983 | kW | 72 | HHV %
110 | 7WGV57KQ |  | 2014 | NEL | Journal | Manufacturer | Alkaline | 2014 |  | 685.4425 |  | 685.4425 | USD/kW |  |  | 43972.5666 | kW | 72 | HHV %
111 | 7WGV57KQ |  | 2017 | NEL | Journal | Forecast | Alkaline | 2020 |  | 450 |  | 450 | USD/kW
112 | 7WGV57KQ |  | 2020 | NEL | Journal | Manufacturer | Alkaline | 2020 |  | 410.5625 |  | 410.5625 | USD/kW |  |  | 20 | MW
113 | 7WGV57KQ |  | 2020 | NEL | Journal | Manufacturer | PEM | 2020 |  | 769.8047 |  | 769.8047 | USD/kW |  |  | 20 | MW
114 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 1802.0801 |  | 1802.0801 | USD/kW |  |  | 235.6704 | kW
115 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 3337.1853 |  | 3337.1853 | USD/kW |  |  | 256.9734 | kW
116 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 1802.0801 |  | 1802.0801 | USD/kW |  |  | 497.5751 | kW
117 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 1184.7008 |  | 1184.7008 | USD/kW |  |  | 902.1482 | kW
118 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 1401.6178 |  | 1401.6178 | USD/kW |  |  | 994.4764 | kW
119 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 1268.1304 |  | 1268.1304 | USD/kW |  |  | 1000.388 | kW
120 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 1184.7008 |  | 1184.7008 | USD/kW |  |  | 1500.3625 | kW
121 | 7WGV57KQ |  | 2011 | NEL | Journal | Manufacturer | Alkaline | 2009 |  | 800.9245 |  | 800.9245 | USD/kW |  |  | 2422.8641 | kW
122 | 7WGV57KQ | LHVYPD7T | 2014 |  | Report | Estimate | Alkaline | 2014 |  | 1150.5659 |  | 1150.5659 | USD/kW |  |  | 5000 | kW | 72 | HHV %
123 | 7WGV57KQ | LHVYPD7T | 2014 |  | Report | Estimate | Alkaline | 2014 |  | 1418.3243 |  | 1418.3243 | USD/kW |  |  | 5000 | kW | 68 | HHV %
124 | 7WGV57KQ | LHVYPD7T | 2014 |  | Report | Estimate | PEM | 2014 |  | 1268.5387 |  | 1268.5387 | USD/kW |  |  | 5000 | kW | 69 | HHV %
125 | 7WGV57KQ | LHVYPD7T | 2014 |  | Report | Forecast | Alkaline | 2030 |  | 597.8171 |  | 597.8171 | USD/kW |  |  | 100000 | kW | 74 | HHV %
126 | 7WGV57KQ | LHVYPD7T | 2014 |  | Report | Forecast | Alkaline | 2030 |  | 689.2791 |  | 689.2791 | USD/kW |  |  | 100000 | kW | 72 | HHV %
127 | 7WGV57KQ | LHVYPD7T | 2014 |  | Report | Forecast | PEM | 2030 |  | 404.2887 |  | 404.2887 | USD/kW |  |  | 100000 | kW | 84 | HHV %
128 | 7WGV57KQ | BRIB5VGW | 2014 |  | Report | Forecast | PEM | 2025 |  | 450 |  | 450 | USD/kW |  |  |  |  | 78 | HHV %
129 | 7WGV57KQ | BRIB5VGW | 2014 |  | Report | Estimate | PEM | 2012 |  | 940 |  | 940 | USD/kW |  |  |  |  | 72 | HHV %
130 | 7WGV57KQ | BRIB5VGW | 2014 |  | Report | Forecast | PEM | 2025 |  | 400 |  | 400 | USD/kW |  |  |  |  | 78 | HHV %
131 | 7WGV57KQ | BRIB5VGW | 2014 |  | Report | Estimate | PEM | 2012 |  | 900 |  | 900 | USD/kW |  |  |  |  | 72 | HHV %
132 | 7WGV57KQ | XVCBFLNW | 2015 |  | Report | Estimate | PEM | 2014 |  | 1822.613 |  | 1822.613 | USD/kW |  |  | 2000 | kW | 73 | HHV %
133 | 7WGV57KQ | IM67R5NG | 2014 | A06 | Journal | Manufacturer | Alkaline | 2014 |  | 2887.1814 |  | 2887.1814 | USD/kW |  |  | 327.745 | kW | 62 | LHV %
134 | 7WGV57KQ | IM67R5NG | 2014 | A10 | Journal | Manufacturer | Alkaline | 2014 |  | 2324.8401 |  | 2324.8401 | USD/kW |  |  | 549.945 | kW | 62 | LHV %
135 | 7WGV57KQ | IM67R5NG | 2014 | A25 | Journal | Manufacturer | Alkaline | 2014 |  | 2005.8351 |  | 2005.8351 | USD/kW |  |  | 1388.75 | kW | 62 | LHV %
136 | 7WGV57KQ | IM67R5NG | 2014 | A27A | Journal | Manufacturer | Alkaline | 2014 |  | 1443.5193 |  | 1443.5193 | USD/kW |  |  | 1499.85 | kW | 62 | LHV %
137 | 7WGV57KQ | IM67R5NG | 2014 | A27B | Journal | Manufacturer | Alkaline | 2014 |  | 1083.9081 |  | 1083.9081 | USD/kW |  |  | 1499.85 | kW | 62 | LHV %
138 | 7WGV57KQ | IM67R5NG | 2014 | A31 | Journal | Manufacturer | Alkaline | 2014 |  | 1097.0865 |  | 1097.0865 | USD/kW |  |  | 1744.27 | kW | 62 | LHV %
139 | 7WGV57KQ | IM67R5NG | 2014 | A36 | Journal | Manufacturer | Alkaline | 2014 |  | 2101.2867 |  | 2101.2867 | USD/kW |  |  | 1999.8 | kW | 62 | LHV %
140 | 7WGV57KQ | IM67R5NG | 2014 | A44 | Journal | Manufacturer | Alkaline | 2014 |  | 1472.2731 |  | 1472.2731 | USD/kW |  |  | 2427.535 | kW | 62 | LHV %
141 | 7WGV57KQ | IM67R5NG | 2014 | A45 | Journal | Manufacturer | Alkaline | 2014 |  | 924.6708 |  | 924.6708 | USD/kW |  |  | 2499.75 | kW | 62 | LHV %
142 | 7WGV57KQ | IM67R5NG | 2014 | A50 | Journal | Manufacturer | Alkaline | 2014 |  | 1666.5219 |  | 1666.5219 | USD/kW |  |  | 2777.5 | kW | 62 | LHV %
143 | 7WGV57KQ | IM67R5NG | 2014 | A54 | Journal | Manufacturer | Alkaline | 2014 |  | 1070.949 |  | 1070.949 | USD/kW |  |  | 2999.7 | kW | 62 | LHV %
144 | 7WGV57KQ | IM67R5NG | 2014 | P09 | Journal | Manufacturer | PEM | 2014 |  | 3329.5197 |  | 3329.5197 | USD/kW |  |  | 499.95 | kW | 60.5 | LHV %
145 | 7WGV57KQ | IM67R5NG | 2014 | P11 | Journal | Manufacturer | PEM | 2014 |  | 2143.6218 |  | 2143.6218 | USD/kW |  |  | 666.6 | kW | 60.5 | LHV %
146 | 7WGV57KQ | IM67R5NG | 2014 | P21 | Journal | Manufacturer | PEM | 2014 |  | 2056.7943 |  | 2056.7943 | USD/kW |  |  | 1177.66 | kW | 60.5 | LHV %
147 | 7WGV57KQ | IM67R5NG | 2014 | P22 | Journal | Manufacturer | PEM | 2014 |  | 1566.1794 |  | 1566.1794 | USD/kW |  |  | 1199.88 | kW | 60.5 | LHV %
148 | 7WGV57KQ | IM67R5NG | 2014 | P47 | Journal | Manufacturer | PEM | 2014 |  | 2771 |  | 2771 | USD/kW |  |  | 2610.85 | kW | 60.5 | LHV %
149 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 1042.6605 |  | 1042.6605 | USD/kW |  |  | 128 | kW | 71 | HHV %
150 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 901.4188 |  | 901.4188 | USD/kW |  |  | 255 | kW | 71 | HHV %
151 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 827.842 |  | 827.842 | USD/kW |  |  | 382.5 | kW | 71 | HHV %
152 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 779.3101 |  | 779.3101 | USD/kW |  |  | 510 | kW | 71 | HHV %
153 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 743.6339 |  | 743.6339 | USD/kW |  |  | 637.5 | kW | 71 | HHV %
154 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 715.7002 |  | 715.7002 | USD/kW |  |  | 765 | kW | 71 | HHV %
155 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 692.9028 |  | 692.9028 | USD/kW |  |  | 892.5 | kW | 71 | HHV %
156 | 7WGV57KQ | GVXYWHFS | 2004 |  | Journal | Forecast | PEM | 2020 |  | 673.7426 |  | 673.7426 | USD/kW |  |  | 1020 | kW | 71 | HHV %
157 | MHFUSQTL | 674F4TW4 | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 3200 |  | 3200 | USD/kW |  |  | 200 | kW | 74 | HHV %
158 | MHFUSQTL | 674F4TW4 | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 1600 |  | 1600 | USD/kW |  |  | 600 | kW | 74 | HHV %
159 | MHFUSQTL | 674F4TW4 | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 1000 |  | 1000 | USD/kW |  |  | 1200 | kW | 74 | HHV %
160 | MHFUSQTL | 674F4TW4 | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 670 |  | 670 | USD/kW | 16 | MW | 2000 | kW | 74 | HHV %
161 | MHFUSQTL | SX43SE9T | 2007 | Norsk Hydro | Journal | Manufacturer | Alkaline | 2007 |  | 629.7849 |  | 629.7849 | USD/kW | 18.6 | MW | 2 | MW | 4.3 | kWh/Nm3H2
162 | MHFUSQTL | SX43SE9T | 2007 | Norsk Hydro | Journal | Manufacturer | Alkaline | 2007 |  | 568.6711 |  | 568.6711 | USD/kW | 74.5 | MW | 2 | MW | 4.3 | kWh/Nm3H2
163 | MHFUSQTL | SX43SE9T | 2007 | Norsk Hydro | Journal | Manufacturer | Alkaline | 2007 |  | 560.7718 |  | 560.7718 | USD/kW | 149 | MW | 2 | MW | 4.3 | kWh/Nm3H2
164 | MHFUSQTL | SX43SE9T | 2007 | Norsk Hydro | Journal | Manufacturer | Alkaline | 2007 |  | 520.3445 |  | 520.3445 | USD/kW | 223.5 | MW | 2 | MW | 4.3 | kWh/Nm3H2
165 | MHFUSQTL | YG2ZLVBY | 2004 |  | Journal | Estimate | Alkaline | 2004 |  | 1100 |  | 1100 | Euro/kW | 10 | MW |  |  | 83 | HHV %
166 | MHFUSQTL | YG2ZLVBY | 2004 |  | Journal | Estimate | Alkaline | 2025 |  | 600 |  | 600 | Euro/kW | 30 | MW |  |  | 83 | HHV %
167 | 36SG5CLP |  | 2015 |  | Journal | Estimate | Alkaline | 2015 |  | 1000 |  | 1000 | Euro/kW | 2.7 | MW |  |  | 70 | LHV %
168 | 36SG5CLP |  | 2015 |  | Journal | Estimate | PEM | 2018 |  | 1000 |  | 1000 | Euro/kW | 1.6 | MW
169 | 36SG5CLP |  | 2015 |  | Journal | Forecast | PEM | 2020 |  | 1250 |  | 1250 | Euro/kW
170 | 36SG5CLP |  | 2015 |  | Journal | Forecast | SOEC | 2030 |  | 1000 |  | 1000 | Euro/kW
171 | MHFUSQTL | (Greiner et al., 2007) | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 1300 |  | 1300 | Euro/kW | 5 | MW | 2 | MW | 42 | kWhe/kgH2
172 | MHFUSQTL | 7CBLWZWB | 2015 |  | Journal | Estimate | Alkaline | 2015 |  | 400 |  | 400 | USD/kW
173 | MHFUSQTL | ZI9F9V4N | 2013 |  | Journal | Estimate | Alkaline | 2013 |  | 750 |  | 750 | Euro/kW |  |  |  |  | 65.5 | LHV %
174 | MHFUSQTL | PJW4NF43 | 2016 |  | Journal | Forecast | Alkaline | 2030 | 370 |  | 800 | 585 | USD/kW | 100 | MW |  |  | 70 | LHV %
175 | MHFUSQTL | AI2CJNHA | 2014 |  | Book | Estimate | Alkaline | 2014 | 1000 |  | 1300 | 1150 | Euro/kW
176 | MHFUSQTL | AI2CJNHA | 2014 |  | Book | Estimate | Alkaline | 2030 |  | 1000 |  | 1000 | Euro/kW
177 | MHFUSQTL | AI2CJNHA | 2014 |  | Book | Estimate | PEM | 2014 | 2000 |  | 2600 | 2300 | Euro/kW
178 | MHFUSQTL | AI2CJNHA | 2014 |  | Book | Estimate | PEM | 2030 |  | 1000 |  | 1000 | Euro/kW
179 | MHFUSQTL | VCRIGIR8 | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 2131 |  | 2131 | Euro/kW | 297 | MW | 305 | kW
180 | MHFUSQTL | 8Q222D4I | 2011 | IHT S-556 | Journal | Manufacturer | Alkaline | 2007 |  | 900 |  | 900 | Euro/kW |  |  | 760 | Nm3/h
181 | MHFUSQTL | WBAK2CYV | 2013 |  | Journal | Estimate | Alkaline | 2013 |  | 1200 |  | 1200 | Euro/kW | 125 | MW
182 | MHFUSQTL | E9JWCEA6 | 2007 |  | Journal | Estimate | Alkaline | 2007 |  | 1100 |  | 1100 | Euro/kW |  |  |  |  | 67 | LHV %
183 | MHFUSQTL | 25ZKF6DZ | 2014 |  | Journal | Forecast | Alkaline | 2020 |  | 940 |  | 940 | Euro/kW |  |  |  |  | 70 | LHV %
184 | MHFUSQTL | 6B5DSE5G | 2015 |  | Journal | Estimate | Alkaline | 2015 |  | 1000 |  | 1000 | Euro/kW |  |  | 2.5 | MW | 67 | LHV %
185 | MHFUSQTL | 6B5DSE5G | 2015 |  | Journal | Forecast | Alkaline | 2030 |  | 550 |  | 550 | Euro/kW |  |  |  |  | 74 | LHV %
186 | MHFUSQTL | 6B5DSE5G | 2015 |  | Journal | Estimate | PEM | 2015 |  | 2000 |  | 2000 | Euro/kW
187 | MHFUSQTL | 6B5DSE5G | 2015 |  | Journal | Estimate | PEM | 2030 |  | 500 |  | 500 | Euro/kW
188 | MHFUSQTL | 6B5DSE5G | 2015 |  | Journal | Estimate | Others | 2015 |  | 720 |  | 720 | Euro/kW | 59000 | MW
189 | MHFUSQTL | KNRRKYU7 | 2014 |  | Journal | Estimate | Alkaline | 2014 | 800 |  | 1500 | 1150 | Euro/kW |  |  |  |  | 72 | HHV %
190 | MHFUSQTL | KNRRKYU7 | 2014 |  | Journal | Estimate | Alkaline | 2014 |  | 2000 |  | 2000 | Euro/kW
191 | MHFUSQTL | 54SEVHG2 | 2012 |  | Journal | Estimate | Alkaline | 2012 | 1000 |  | 5000 | 3000 | Euro/kW |  |  |  |  | 65.15 | LHV %
192 | MHFUSQTL | 54SEVHG2 | 2012 |  | Journal | Estimate | SOEC | 2012 |  | 1000 |  | 1000 | Euro/kW
193 | MHFUSQTL | 966USASJ | 2016 |  | Journal | Estimate | Alkaline | 2016 |  | 1000 |  | 1000 | Euro/kW
194 | MHFUSQTL | 966USASJ | 2016 |  | Journal | Estimate | PEM | 2016 |  | 1000 |  | 1000 | Euro/kW
195 | MHFUSQTL | 5L8VUUAN | 2013 | SolarFuel GmBH | Journal | Manufacturer | Alkaline | 2015 |  | 1000 |  | 1000 | Euro/kW | 20 | MW |  |  | 60 | LHV %
196 | MHFUSQTL | 5ACAKIRD | 2015 |  | Journal | Estimate | Alkaline | 2015 |  | 1400 |  | 1400 | Euro/kW |  |  |  |  | 65.5 | LHV %
197 | MHFUSQTL |  | 2015 | Anonymous2015-1 | Journal | Manufacturer | Alkaline | 2015 |  | 1588.8342 |  | 1588.8342 | Euro/kW
198 | MHFUSQTL |  | 2015 | Anonymous2015-10 | Journal | Manufacturer | Alkaline | 2015 |  | 975.9277 |  | 975.9277 | Euro/kW
199 | MHFUSQTL |  | 2015 | Anonymous2015-2 | Journal | Manufacturer | Alkaline | 2015 |  | 1551.0382 |  | 1551.0382 | Euro/kW
200 | MHFUSQTL |  | 2015 | Anonymous2015-3 | Journal | Manufacturer | Alkaline | 2015 |  | 1475.3111 |  | 1475.3111 | Euro/kW
201 | MHFUSQTL |  | 2015 | Anonymous2015-4 | Journal | Manufacturer | Alkaline | 2015 |  | 1231.9706 |  | 1231.9706 | Euro/kW
202 | MHFUSQTL |  | 2015 | Anonymous2015-5 | Journal | Manufacturer | Alkaline | 2015 |  | 1584.4841 |  | 1584.4841 | Euro/kW
203 | MHFUSQTL |  | 2015 | Anonymous2015-6 | Journal | Manufacturer | Alkaline | 2015 |  | 1312.5306 |  | 1312.5306 | Euro/kW
204 | MHFUSQTL |  | 2015 | Anonymous2015-7 | Journal | Manufacturer | Alkaline | 2015 |  | 1229.4259 |  | 1229.4259 | Euro/kW
205 | MHFUSQTL |  | 2015 | Anonymous2015-8 | Journal | Manufacturer | Alkaline | 2015 |  | 940.1839 |  | 940.1839 | Euro/kW
206 | MHFUSQTL |  | 2015 | Anonymous2015-8 | Journal | Manufacturer | Alkaline | 2016 |  | 831.3713 |  | 831.3713 | Euro/kW
207 | MHFUSQTL |  | 2015 | Anonymous2015-9 | Journal | Manufacturer | Alkaline | 2015 |  | 831.3713 |  | 831.3713 | Euro/kW
208 | MHFUSQTL |  | 2016 | hydrogenenergy2016 | Journal | Manufacturer | Alkaline | 2017 |  | 800 |  | 800 | Euro/kW
209 | MHFUSQTL |  | 2016 | hydrogenenergy2016 | Journal | Manufacturer | Alkaline | 2025 |  | 650 |  | 650 | Euro/kW
210 | MHFUSQTL |  | 2017 | michalski2017hydrogen | Journal | Manufacturer | Alkaline | 2025 |  | 932 |  | 932 | Euro/kW
211 | MHFUSQTL |  | 2016 | micropyris2016 | Journal | Manufacturer | Alkaline | 2017 |  | 1000 |  | 1000 | Euro/kW |  |  |  |  | 72 | LHV %
212 | MHFUSQTL |  | 2016 | micropyris2016 | Journal | Manufacturer | Alkaline | 2018 |  | 800 |  | 800 | Euro/kW |  |  |  |  | 73 | LHV %
213 | MHFUSQTL |  | 2016 | micropyris2016 | Journal | Manufacturer | Alkaline | 2019 |  | 500 |  | 500 | Euro/kW |  |  |  |  | 75 | LHV %
214 | MHFUSQTL |  | 2016 | micropyris2016 | Journal | Manufacturer | Alkaline | 2020 |  | 500 |  | 500 | Euro/kW |  |  |  |  | 75 | LHV %
215 | MHFUSQTL |  | 2017 | siemens2017 | Journal | Manufacturer | Alkaline | 2017 | 800 |  | 1200 | 1000 | Euro/kW
216 | MHFUSQTL |  | 2017 | siemens2017 | Journal | Manufacturer | Alkaline | 2030 |  | 500 |  | 500 | Euro/kW
217 | MHFUSQTL |  | 2017 | siemens2017 | Journal | Manufacturer | PEM | 2017 | 1000 |  | 1500 | 1250 | Euro/kW
218 | MHFUSQTL |  | 2017 | siemens2017 | Journal | Manufacturer | PEM | 2030 |  | 500 |  | 500 | Euro/kW
219 | MHFUSQTL |  | 2016 | wind-wasserstoff2016 | Journal | Manufacturer | Alkaline | 2011 |  | 1416.5 |  | 1416.5 | Euro/kW
220 | MHFUSQTL | BJD42CD2 | 2013 |  | Report | Estimate | Alkaline | 2013 |  | 1200 |  | 1200 | Euro/kW
221 | MHFUSQTL | BJD42CD2 | 2013 |  | Report | Forecast | Alkaline | 2016 |  | 1000 |  | 1000 | Euro/kW
222 | MHFUSQTL | BJD42CD2 | 2013 |  | Report | Forecast | Alkaline | 2020 |  | 851 |  | 851 | Euro/kW
223 | MHFUSQTL | BJD42CD2 | 2013 |  | Report | Forecast | Alkaline | 2030 |  | 706 |  | 706 | Euro/kW
224 | MHFUSQTL | I5K5GK77 | 2016 |  | Report | Estimate | Alkaline | 2016 |  | 800 |  | 800 | Euro/kW
225 | MHFUSQTL | I5K5GK77 | 2016 |  | Report | Forecast | Alkaline | 2025 |  | 600 |  | 600 | Euro/kW
226 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Estimate | Alkaline | 2020 |  | 365 |  | 365 | Euro/kW
227 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Forecast | Alkaline | 2025 |  | 292 |  | 292 | Euro/kW
228 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Forecast | Alkaline | 2030 |  | 219 |  | 219 | Euro/kW
229 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Estimate | PEM | 2020 |  | 1867 |  | 1867 | Euro/kW
230 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Forecast | PEM | 2025 |  | 1299 |  | 1299 | Euro/kW
231 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Forecast | PEM | 2030 |  | 667 |  | 667 | Euro/kW
232 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Estimate | SOEC | 2020 |  | 800 |  | 800 | Euro/kW
233 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Forecast | SOEC | 2025 |  | 533 |  | 533 | Euro/kW
234 | MHFUSQTL | SDNYST35 | 2014 |  | Report | Forecast | SOEC | 2030 |  | 400 |  | 400 | Euro/kW
235 | MHFUSQTL | BZRTVT7U | 2015 |  | Report | Estimate | Alkaline | 2015 | 800 |  | 1500 | 1150 | Euro/kW |  |  |  |  | 79 | HHV %
236 | MHFUSQTL | BZRTVT7U | 2015 |  | Report | Forecast | Alkaline | 2025 |  | 500 |  | 500 | Euro/kW
237 | MHFUSQTL | BZRTVT7U | 2015 |  | Report | Estimate | PEM | 2015 | 2000 |  | 6000 | 4000 | Euro/kW |  |  |  |  | 65 | HHV %
238 | MHFUSQTL | dena2016potentialatlas | 2016 |  | Report | Estimate | Alkaline | 2016 |  | 1000 |  | 1000 | Euro/kW
239 | MHFUSQTL | dena2016potentialatlas | 2016 |  | Report | Forecast | PEM | 2016 |  | 700 |  | 700 | Euro/kW
240 | MHFUSQTL | dena2016potentialatlas | 2016 |  | Report | Estimate | Alkaline | 2030 |  | 2000 |  | 2000 | Euro/kW
241 | MHFUSQTL | dena2016potentialatlas | 2016 |  | Report | Forecast | PEM | 2030 |  | 700 |  | 700 | Euro/kW
242 | MHFUSQTL | 5PCFHVQW | 2015 |  | Report | Estimate | Alkaline | 2016 | 430 |  | 2121 | 1275.5 | Euro/kW |  |  | 500 | kW | 70 | LHV %
243 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Estimate | Alkaline | 2016 |  | 2000 |  | 2000 | Euro/kW |  |  | 1 | MW | 72 | LHV %
244 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Estimate | Alkaline | 2016 |  | 1500 |  | 1500 | Euro/kW |  |  | 10 | MW | 72 | LHV %
245 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Estimate | Alkaline | 2016 |  | 1000 |  | 1000 | Euro/kW |  |  |  |  | 72 | LHV %
246 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Estimate | PEM | 2016 |  | 1000 |  | 1000 | Euro/kW |  |  | 10 | MW
247 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Forecast | PEM | 2030 |  | 1000 |  | 1000 | Euro/kW |  |  | 1 | MW
248 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Forecast | PEM | 2030 |  | 700 |  | 700 | Euro/kW |  |  | 10 | MW
249 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Forecast | PEM | 2050 | 500 |  | 550 | 525 | Euro/kW |  |  | 1 | MW
250 | MHFUSQTL | FJEB8UYC | 2016 |  | Report | Forecast | PEM | 2050 | 350 |  | 400 | 375 | Euro/kW |  |  | 10 | MW
251 | MHFUSQTL | DFHGBJ7X | 2014 |  | Report | Estimate | Alkaline | 2013 |  | 1200 |  | 1200 | Euro/kW
252 | MHFUSQTL | DFHGBJ7X | 2014 |  | Report | Forecast | Alkaline | 2020 |  | 1100 |  | 1100 | Euro/kW |  |  |  |  | 62.5 | LHV %
253 | MHFUSQTL | DFHGBJ7X | 2014 |  | Report | Forecast | Alkaline | 2030 |  | 1050 |  | 1050 | Euro/kW |  |  |  |  | 62.5 | LHV %
254 | MHFUSQTL | 9A9D2N79 | 2014 |  | Report | Estimate | Alkaline | 2014 | 1100 |  | 1700 | 1400 | Euro/kW
255 | MHFUSQTL | K35XBEHA | 2009 |  | Report | Estimate | Alkaline | 2009 | 580 |  | 674 | 627 | Euro/kW
256 | MHFUSQTL | ZI9F9V4N | 2014 |  | Report | Forecast | Alkaline | 2030 |  | 676 |  | 676 | Euro/kW
257 | MHFUSQTL | RUVHN27B | 2005 |  | Report | Estimate | Alkaline | 2005 | 300 | 400 | 740 | 480 | Euro/kW |  |  | 3500 | kW | 77 | LHV %
258 | MHFUSQTL | 6Z4MYYJA | 2013 |  | Report | Estimate | Alkaline | 2013 | 800 |  | 1000 | 900 | Euro/kW |  |  | 2 | MW | 72.5 | LHV %
259 | MHFUSQTL | 6Z4MYYJA | 2013 |  | Report | Estimate | Alkaline | 2013 | 1200 |  | 1600 | 1400 | Euro/kW |  |  | 3 | MW | 72.5 | LHV %
260 | MHFUSQTL | 6Z4MYYJA | 2013 |  | Report | Estimate | PEM | 2013 |  | 5000 |  | 5000 | Euro/kW |  |  | 300 | kW | 72.5 | LHV %
261 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Estimate | Alkaline | 2003 |  | 1630 |  | 1630 | Euro/kW
262 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Estimate | Alkaline | 2004 |  | 1630 |  | 1630 | Euro/kW
263 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Estimate | Alkaline | 2005 |  | 1630 |  | 1630 | Euro/kW
264 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Forecast | Alkaline | 2020 |  | 1630 |  | 1630 | Euro/kW
265 | MHFUSQTL | VGHDQM3E | 2013 |  | Report | Estimate | Others | 2013 |  | 1000 |  | 1000 | Euro/kW
266 | MHFUSQTL | 4FUYHK6W | 2008 |  | Report | Estimate | Alkaline | 2012 | 1000 |  | 5000 | 3000 | Euro/kW
267 | MHFUSQTL | 4FUYHK6W | 2008 |  | Report | Estimate | SOEC | 2012 | 1000 |  | 1000 | 1000 | Euro/kW
268 | MHFUSQTL | QQ5D5ULF | 2013 |  | Report | Estimate | Alkaline | 2013 |  | 676 |  | 676 | Euro/kW |  |  |  |  | 74 | HHV %
269 | MHFUSQTL | KNAE7NVB | 2004 |  | Report | Estimate | Alkaline | 2004 |  | 1000 |  | 1000 | Euro/kW
270 | MHFUSQTL | KNAE7NVB | 2004 |  | Report | Estimate | PEM | 2004 | 1000 |  | 10000 | 5500 | Euro/kW
271 | MHFUSQTL | LEVSNYID | 2010 |  | Report | Estimate | Alkaline | 2010 | 800 |  | 1000 | 900 | Euro/kW
272 | MHFUSQTL | LEVSNYID | 2010 |  | Report | Estimate | PEM | 2010 | 1200 |  | 2486 | 1843 | Euro/kW
273 | MHFUSQTL | K62DC77V | 2008 |  | Report | Estimate | Alkaline | 2008 |  | 1300 |  | 1300 | Euro/kW |  |  | 1 | MW | 72.5 | HHV %
274 | MHFUSQTL | K62DC77V | 2008 |  | Report | Forecast | Alkaline | 2015 |  | 200 |  | 200 | Euro/kW |  |  | 50 | MW | 80 | HHV %
275 | MHFUSQTL | K62DC77V | 2008 |  | Report | Forecast | Alkaline | 2050 |  | 180 |  | 180 | Euro/kW |  |  | 50 | MW | 90 | HHV %
276 | MHFUSQTL | E83Z6NBK | 2014 |  | Report | Estimate | Alkaline | 2014 | 750 |  | 1250 | 1000 | Euro/kW
277 | MHFUSQTL | E83Z6NBK | 2014 |  | Report | Forecast | Alkaline | 2030 |  | 500 |  | 500 | Euro/kW
278 | MHFUSQTL | E83Z6NBK | 2014 |  | Report | Estimate | PEM | 2014 | 2000 |  | 4000 | 3000 | Euro/kW
279 | MHFUSQTL | E83Z6NBK | 2014 |  | Report | Forecast | PEM | 2030 |  | 500 |  | 500 | Euro/kW
280 | MHFUSQTL | KNRRKYU7 | 2009 |  | Report | Estimate | Alkaline | 2009 |  | 2000 |  | 2000 | Euro/kW | 10 | MW | 0.1 | MW | 72 | HHV %
281 | MHFUSQTL | KNRRKYU7 | 2009 |  | Report | Estimate | Alkaline | 2020 |  | 1000 |  | 1000 | Euro/kW | 200 | MW | 0.1 | MW | 66.5 | LHV %
282 | MHFUSQTL | RVU7GWW8 | 2016 |  | Report | Estimate | Alkaline | 2016 |  | 1100 |  | 1100 | Euro/kW
283 | MHFUSQTL | RVU7GWW8 | 2016 |  | Report | Estimate | PEM | 2016 |  | 1900 |  | 1900 | Euro/kW
284 | MHFUSQTL | RVU7GWW8 | 2016 |  | Report | Estimate | PEM | 2016 | 1039 |  | 1200 | 1119.5 | Euro/kW
285 | MHFUSQTL | vku2015power | 2015 |  | Report | Estimate | Alkaline | 2015 |  | 1000 |  | 1000 | Euro/kW
286 | MHFUSQTL | vku2015power | 2015 |  | Report | Estimate | PEM | 2015 |  | 2000 |  | 2000 | Euro/kW
287 | MHFUSQTL | 2JKQMWSV | 2008 |  | Report | Estimate | Alkaline | 2008 | 800 |  | 1500 | 1150 | Euro/kW
288 | MHFUSQTL | 2JKQMWSV | 2008 |  | Report | Estimate | PEM | 2025 | 2000 |  | 6000 | 4000 | Euro/kW
289 | MHFUSQTL | WXDBV5IY | 2015 |  | Journal | Estimate | PEM | 2015 |  | 3400 |  | 3400 | Euro/kW |  |  | 523 | kW
290 | MHFUSQTL | UB98SGNF | 2008 |  | Report | Estimate | PEM | 2008 |  | 1000 |  | 1000 | Euro/kW |  |  |  |  | 63.5 | LHV %
291 | MHFUSQTL | NH4XWMEE | 2005 |  | Journal | Estimate | Alkaline | 2005 |  | 500 |  | 500 | USD/kW |  |  |  |  | 75 | HHV %
292 | MHFUSQTL | NH4XWMEE | 2005 |  | Journal | Estimate | PEM | 2005 |  | 1000 |  | 1000 | USD/kW
293 | MHFUSQTL | WPWXGV3V | 2016 |  | Journal | Estimate | PEM | 2016 | 2500 |  | 2600 | 2550 | Euro/kW
294 | MHFUSQTL | WPWXGV3V | 2016 |  | Journal | Forecast | PEM | 2016 | 1050 |  | 1096 | 1073 | Euro/kW
295 | MHFUSQTL | 6A6RCTFV | 2004 |  | Journal | Forecast | PEM | 2004 |  | 1040 |  | 1040 | Euro/kW
296 | MHFUSQTL | 6A6RCTFV | 2004 |  | Journal | Forecast | PEM | 2004 |  | 1040 |  | 1040 | Euro/kW
297 | MHFUSQTL | KNRRKYU7 | 2014 |  | Journal | Estimate | Alkaline | 2014 | 800 |  | 1500 | 1150 | Euro/kW
298 | MHFUSQTL | KNRRKYU7 | 2014 |  | Journal | Estimate | PEM | 2014 |  | 2000 |  | 2000 | Euro/kW
299 | MHFUSQTL | 966USASJ | 2016 |  | Journal | Estimate | PEM | 2016 |  | 1000 |  | 1000 | USD/kW |  |  |  |  | 87.5 | HHV %
300 | MHFUSQTL | 8TBG2MTN | 2014 |  | Journal | Estimate | PEM | 2014 | 1250 |  | 1500 | 1375 | Euro/kW
301 | MHFUSQTL | BJTCYA6X | 2014 |  | Report | Estimate | PEM | 2014 |  | 940 |  | 940 | USD/kW
302 | MHFUSQTL | BJTCYA6X | 2014 |  | Report | Estimate | PEM | 2014 |  | 900 |  | 900 | USD/kW
303 | MHFUSQTL | BJTCYA6X | 2014 |  | Report | Forecast | PEM | 2030 |  | 450 |  | 450 | USD/kW
304 | MHFUSQTL | BJTCYA6X | 2014 |  | Report | Forecast | PEM | 2030 |  | 400 |  | 400 | USD/kW
305 | MHFUSQTL | fichtner2014erstellung | 2014 |  | Report | Forecast | PEM | 2014 |  | 1200 |  | 1200 | Euro/kW
306 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Estimate | PEM | 2003 |  | 3000 |  | 3000 | Euro/kW
307 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Estimate | PEM | 2004 |  | 3000 |  | 3000 | Euro/kW
308 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Estimate | PEM | 2005 |  | 3000 |  | 3000 | Euro/kW
309 | MHFUSQTL | 2PE36GI2 | 2005 |  | Report | Forecast | PEM | 2020 |  | 300 |  | 300 | Euro/kW
310 | MHFUSQTL | SLMR3CNV | 2010 |  | Report | Estimate | PEM | 2010 |  | 2000 |  | 2000 | Euro/kW
311 | MHFUSQTL | (Muller-Syring, 2013) | 2013 |  | Report | Estimate | PEM | 2013 |  | 3391 |  | 3391 | Euro/kW
312 | MHFUSQTL | EHQV7A64 | 2009 |  | Report | Estimate | PEM | 2009 | 434 | 813 | 3000 | 1415.6667 | USD/kW
313 | MHFUSQTL | EHQV7A64 | 2009 |  | Report | Forecast | PEM | 2005 | 750 |  | 2500 | 1625 | USD/kW
314 | MHFUSQTL | (Putter, 2014) | 2014 |  | Report | Estimate | PEM | 2014 | 1000 |  | 2000 | 1500 | Euro/kW
315 | MHFUSQTL | 8QT4XA2T | 2014 |  | Report | Estimate | PEM | 2013 |  | 1125 |  | 1125 | Euro/kW
316 | MHFUSQTL | 8QT4XA2T | 2014 |  | Report | Forecast | PEM | 2025 |  | 750 |  | 750 | Euro/kW
317 | MHFUSQTL | 8QT4XA2T | 2014 |  | Report | Forecast | PEM | 2030 |  | 625 |  | 625 | Euro/kW
318 | MHFUSQTL | EJSERQFE | 2002 |  | Report | Estimate | PEM | 2002 |  | 1000 |  | 1000 | Euro/kW
319 | MHFUSQTL | LHVYPD7T | 2015 |  | Report | Estimate | PEM | 2015 |  | 3200 |  | 3200 | Euro/kW |  |  |  |  | 5.4 | kWh/Nm3H2
320 | MHFUSQTL | LHVYPD7T | 2015 |  | Report | Forecast | PEM | 2017 |  | 1620 |  | 1620 | Euro/kW |  |  |  |  | 4.95 | kWh/Nm3H2
321 | MHFUSQTL | LHVYPD7T | 2015 |  | Report | Forecast | PEM | 2020 |  | 920 |  | 920 | Euro/kW | 5 | MW |  |  | 4.68 | kWh/Nm3H2
322 | MHFUSQTL | LHVYPD7T | 2015 |  | Report | Forecast | PEM | 2023 |  | 720 |  | 720 | Euro/kW | 100 | MW |  |  | 4.5 | kWh/Nm3H2
323 | MHFUSQTL | WVMBSLUW | 2014 |  | Report | Estimate | PEM | 2015 | 1800 |  | 2300 | 2050 | USD/kW | 100 | kW
324 | MHFUSQTL | WVMBSLUW | 2014 |  | Report | Estimate | PEM | 2020 | 1000 |  | 1700 | 1350 | USD/kW | 100 | kW
325 | MHFUSQTL |  | 2014 | Anonymous2014-1 | Report | Manufacturer | PEM | 2014 | 1486 |  | 1825 | 1655.5 | Euro/kW |  |  |  |  | 4.9 | kWh/Nm3H2
326 | MHFUSQTL |  | 2016 | hydrogenenergy2016 | Report | Manufacturer | PEM | 2016 |  | 1200 |  | 1200 | Euro/kW |  |  |  |  | 4.7 | kWh/Nm3H2
327 | MHFUSQTL |  | 2016 | hydrogenenergy2016 | Report | Manufacturer | PEM | 2025 |  | 800 |  | 800 | Euro/kW
328 | MHFUSQTL |  | 2017 | michalski2017hydrogen | Report | Manufacturer | PEM | 2017 |  | 1400 |  | 1400 | Euro/kW
329 | MHFUSQTL |  | 2017 | microbenergy2017 | Report | Manufacturer | PEM | 2017 | 1200 |  | 1900 | 1550 | Euro/kW
330 | MHFUSQTL |  | 2017 | microbenergy2017 | Report | Manufacturer | PEM | 2020 | 1000 |  | 1300 | 1150 | Euro/kW
331 | MHFUSQTL |  | 2017 | siemens2017 | Report | Manufacturer | PEM | 2017 | 1000 |  | 1500 | 1250 | Euro/kW
332 | MHFUSQTL |  | 2017 | siemens2017 | Report | Manufacturer | PEM | 2030 |  | 500 |  | 500 | Euro/kW

## Result
year | eff_singlef_alk | eff_singlef_pem | alk_singlef | alk_singlef_s | alk_singlef_l | alk_singlef_sl | pem_singlef | pem_singlef_s | pem_singlef_l | pem_singlef_sl | alk_doublef | alk_doublef_s | alk_doublef_l | alk_doublef_sl | pem_doublef | pem_doublef_s | pem_doublef_l | pem_doublef_sl
1992 | 63.5202 | 55.4832 | 2589.4493 | 2589.4493 | 2589.4493 | 2589.4493 | 2691.6665 | 2691.6665 | 2691.6665 | 2691.6665 | 2260.4592 | 2260.4592 | 2260.4592 | 2260.4592 | 3508.1291 | 3508.1291 | 3508.1291 | 3508.1291
1993 | 63.5814 | 55.7442 | 2477.3816 | 2444.3513 | 2261.3636 | 2414.946 | 2601.3083 | 2575.061 | 2434.9336 | 2531.9791 | 2192.7913 | 2163.5553 | 2068.7572 | 2137.528 | 3359.7893 | 3325.889 | 3086.3585 | 3270.2454
1994 | 63.6427 | 56.0065 | 2370.1641 | 2307.3837 | 2045.5845 | 2252.2024 | 2513.9833 | 2463.5069 | 2254.9905 | 2381.7655 | 2127.1492 | 2070.8057 | 1936.3191 | 2021.2822 | 3217.7221 | 3153.1159 | 2798.3786 | 3048.4925
1995 | 63.7041 | 56.27 | 2267.5867 | 2178.091 | 1877.1402 | 2100.4262 | 2429.5898 | 2356.7855 | 2108.1582 | 2240.4634 | 2063.472 | 1982.0321 | 1829.0343 | 1911.3583 | 3081.6621 | 2989.318 | 2568.2269 | 2841.7765
1996 | 63.7655 | 56.5347 | 2169.4488 | 2056.0431 | 1736.0875 | 1958.8782 | 2348.0294 | 2254.6873 | 1980.8663 | 2107.5444 | 2001.7011 | 1897.0642 | 1736.3367 | 1807.4124 | 2951.3553 | 2834.029 | 2372.3426 | 2649.0777
1997 | 63.827 | 56.8007 | 2075.5581 | 1940.8341 | 1613.5363 | 1826.8691 | 2269.2069 | 2157.0122 | 1867.0347 | 1982.511 | 1941.7793 | 1815.7388 | 1653.5101 | 1709.1194 | 2826.5585 | 2686.807 | 2200.1341 | 2469.4457
1998 | 63.8885 | 57.0679 | 1985.7309 | 1832.0807 | 1504.6806 | 1703.7562 | 2193.0305 | 2063.5684 | 1763.3715 | 1864.8954 | 1883.6512 | 1737.8997 | 1578.0129 | 1616.1718 | 2707.0387 | 2547.2329 | 2045.8291 | 2301.9944
1999 | 63.9501 | 57.3364 | 1899.7913 | 1729.4213 | 1406.5858 | 1588.9398 | 2119.4113 | 1974.1727 | 1667.8679 | 1754.2575 | 1827.2633 | 1663.3975 | 1508.3025 | 1528.2791 | 2592.5727 | 2414.9094 | 1905.8734 | 2145.8979
2000 | 64.0118 | 57.6062 | 1817.571 | 1632.5143 | 1317.3019 | 1481.8609 | 2048.2634 | 1888.6497 | 1579.1903 | 1650.1834 | 1772.5634 | 1592.0892 | 1443.3614 | 1445.1663 | 2482.9468 | 2289.4598 | 1777.8825 | 2000.3861
2001 | 64.0735 | 57.8772 | 1738.9091 | 1541.0375 | 1235.4486 | 1381.9981 | 1979.504 | 1806.8316 | 1496.396 | 1552.2837 | 1719.5009 | 1523.8378 | 1382.476 | 1366.5734 | 2377.9565 | 2170.527 | 1660.1517 | 1864.7414
2002 | 64.1353 | 58.1495 | 1663.6516 | 1454.6865 | 1160.0009 | 1288.8651 | 1913.0528 | 1728.558 | 1418.7847 | 1460.192 | 1668.0269 | 1458.5122 | 1325.1212 | 1292.2547 | 2277.4056 | 2057.7726 | 1551.3998 | 1738.2947
2003 | 64.1971 | 58.423 | 1591.6511 | 1373.1741 | 1090.1677 | 1202.0083 | 1848.8323 | 1653.6752 | 1345.8152 | 1373.5638 | 1618.0938 | 1395.9871 | 1270.8952 | 1221.9776 | 2181.1065 | 1950.8755 | 1450.6251 | 1620.4222
2004 | 64.259 | 58.6979 | 1522.7667 | 1296.2292 | 1025.3196 | 1121.0048 | 1786.7677 | 1582.0364 | 1277.0549 | 1292.0749 | 1569.6554 | 1336.1424 | 1219.4811 | 1155.5225 | 2088.8793 | 1849.5316 | 1357.0193 | 1510.5426
2005 | 64.321 | 58.9741 | 1456.8635 | 1223.5959 | 964.9427 | 1045.4601 | 1726.7866 | 1513.5011 | 1212.1488 | 1215.4206 | 1522.6671 | 1278.8632 | 1170.6222 | 1092.6814 | 2000.552 | 1753.4522 | 1269.9125 | 1408.1138
2006 | 64.383 | 59.2515 | 1393.8126 | 1155.0325 | 908.6087 | 975.0064 | 1668.819 | 1447.9349 | 1150.7981 | 1143.3138 | 1477.0854 | 1224.0395 | 1124.106 | 1033.2578 | 1915.9595 | 1662.3639 | 1188.7375 | 1312.6306
2007 | 64.4451 | 59.5303 | 1333.4903 | 1090.311 | 855.9547 | 909.3006 | 1612.7973 | 1385.209 | 1092.7468 | 1075.4849 | 1432.8682 | 1171.566 | 1079.753 | 977.0659 | 1834.9439 | 1576.0075 | 1113.0054 | 1223.6221
2008 | 64.5072 | 59.8103 | 1275.7788 | 1029.2162 | 806.668 | 848.0227 | 1558.6563 | 1325.2004 | 1037.7715 | 1011.6801 | 1389.9746 | 1121.3421 | 1037.4095 | 923.9298 | 1757.3541 | 1494.1372 | 1042.2885 | 1140.6492
2009 | 64.5694 | 60.0917 | 1220.5649 | 971.5447 | 760.4766 | 790.8743 | 1506.3328 | 1267.7915 | 985.6746 | 951.6605 | 1348.3651 | 1073.2711 | 996.9417 | 873.6835 | 1683.0451 | 1416.5198 | 976.208 | 1063.3026
2010 | 64.6317 | 60.3744 | 1167.7405 | 917.1049 | 717.1407 | 737.5772 | 1455.7658 | 1212.8696 | 936.2792 | 895.2018 | 1308.0012 | 1027.261 | 958.2321 | 826.1697 | 1611.8783 | 1342.9345 | 914.425 | 991.2009
2011 | 64.694 | 60.6585 | 1117.2024 | 865.7155 | 676.4475 | 687.8718 | 1406.8963 | 1160.3269 | 889.4252 | 842.0925 | 1268.8456 | 983.2232 | 921.176 | 781.2399 | 1543.7207 | 1273.1718 | 856.634 | 923.9883
2012 | 64.7564 | 60.9439 | 1068.8515 | 817.2057 | 638.2066 | 641.516 | 1359.6673 | 1110.0605 | 844.9668 | 792.134 | 1230.8622 | 941.0733 | 885.6798 | 738.7535 | 1478.4451 | 1207.0332 | 802.5573 | 861.3333
2013 | 64.8188 | 61.2306 | 1022.5931 | 771.4141 | 602.2462 | 598.2841 | 1314.0238 | 1061.9716 | 802.7697 | 745.1394 | 1194.0158 | 900.7304 | 851.6585 | 698.5777 | 1415.9297 | 1144.3303 | 751.9413 | 802.9269
2014 | 64.8813 | 61.5187 | 978.3367 | 728.1885 | 568.4109 | 557.9657 | 1269.9125 | 1015.966 | 762.71 | 700.9329 | 1158.2724 | 862.1169 | 819.035 | 660.5867 | 1356.0577 | 1084.8847 | 704.5533 | 748.481
2015 | 64.9439 | 61.8081 | 935.9957 | 687.3849 | 536.5591 | 520.3643 | 1227.282 | 971.9534 | 724.6726 | 659.3489 | 1123.599 | 825.1587 | 787.7385 | 624.6619 | 1298.7174 | 1028.5271 | 660.1789 | 697.7271
2016 | 65.0065 | 62.0989 | 895.4871 | 648.8677 | 506.5612 | 485.2969 | 1186.0826 | 929.8475 | 688.5501 | 620.232 | 1089.9636 | 789.7849 | 757.7038 | 590.6907 | 1243.8017 | 975.0972 | 618.62 | 650.4147
2017 | 65.0692 | 62.391 | 856.7317 | 612.5089 | 478.2984 | 452.5927 | 1146.2662 | 889.5656 | 654.242 | 583.4357 | 1057.335 | 755.9275 | 728.8706 | 558.567 | 1191.2081 | 924.4429 | 579.693 | 606.3106
2018 | 65.1319 | 62.6846 | 819.6536 | 578.1873 | 451.6612 | 422.0924 | 1107.7865 | 851.0288 | 621.6541 | 548.8225 | 1025.6832 | 723.5216 | 701.183 | 528.1903 | 1140.8383 | 876.42 | 543.2276 | 565.1971
2019 | 65.1947 | 62.9795 | 784.1801 | 545.789 | 426.5485 | 393.6475 | 1070.5985 | 814.1614 | 590.6977 | 516.2627 | 994.979 | 692.5049 | 674.5885 | 499.4656 | 1092.5985 | 830.8918 | 509.0651 | 526.8715
2020 | 65.2576 | 63.2758 | 750.2419 | 515.2061 | 402.8668 | 367.1196 | 1034.6589 | 778.8912 | 561.2892 | 485.6346 | 965.1938 | 662.8178 | 649.0384 | 472.303 | 1046.3984 | 787.7287 | 477.058 | 491.1448
2021 | 65.3205 | 63.5735 | 717.7725 | 486.3369 | 380.5291 | 342.3793 | 999.9258 | 745.1489 | 533.3498 | 456.8236 | 936.3003 | 634.4034 | 624.4866 | 446.6176 | 1002.1519 | 746.8078 | 447.0687 | 457.8406
2022 | 65.3835 | 63.8725 | 686.7083 | 459.0853 | 359.4548 | 319.3063 | 966.3587 | 712.8684 | 506.805 | 429.7218 | 908.2718 | 607.2071 | 600.89 | 422.3291 | 959.7763 | 708.0127 | 418.9687 | 426.7948
2023 | 65.4465 | 64.173 | 656.9886 | 433.3608 | 339.5686 | 297.7882 | 933.9184 | 681.9862 | 481.5842 | 404.2279 | 881.0823 | 581.1767 | 578.2078 | 399.3615 | 919.1926 | 671.2328 | 392.638 | 397.8541
2024 | 65.5096 | 64.475 | 628.555 | 409.0777 | 320.8003 | 277.7202 | 902.5671 | 652.4419 | 457.6209 | 380.2464 | 854.7067 | 556.2622 | 556.4015 | 377.6429 | 880.3249 | 636.3637 | 367.9644 | 370.8759
2025 | 65.5728 | 64.7783 | 601.3521 | 386.1553 | 303.0845 | 259.0046 | 872.2682 | 624.1775 | 434.8517 | 357.6877 | 829.1206 | 532.4157 | 535.4347 | 357.1054 | 843.1008 | 603.3059 | 344.8432 | 345.7271
2026 | 65.636 | 65.0831 | 575.3264 | 364.5173 | 286.3599 | 241.5503 | 842.9865 | 597.1376 | 413.2168 | 336.4673 | 804.3006 | 509.5916 | 515.2726 | 337.6849 | 807.4506 | 571.9654 | 323.1761 | 322.2836
2027 | 65.6993 | 65.3893 | 550.4271 | 344.0918 | 270.569 | 225.2722 | 814.6878 | 571.269 | 392.6594 | 316.5059 | 780.2235 | 487.7458 | 495.8826 | 319.3205 | 773.3079 | 542.253 | 302.8715 | 300.4298
2028 | 65.7627 | 65.6969 | 526.6054 | 324.8109 | 255.6583 | 210.091 | 787.339 | 546.5211 | 373.1255 | 297.7286 | 756.8671 | 466.8366 | 477.2333 | 301.9548 | 740.6089 | 514.084 | 283.8434 | 280.0579
2029 | 65.8261 | 66.006 | 503.8147 | 306.6103 | 241.5771 | 195.933 | 760.9083 | 522.8453 | 354.564 | 280.0654 | 734.21 | 446.8238 | 459.2949 | 285.5335 | 709.2926 | 487.3784 | 266.0114 | 261.0673
2030 | 65.8895 | 66.3165 | 482.0103 | 289.4296 | 228.2782 | 182.729 | 735.3649 | 500.1952 | 336.9264 | 263.4501 | 712.2311 | 427.6688 | 442.0392 | 270.0052 | 679.3004 | 462.0601 | 249.3001 | 243.3646
2031 | 65.9531 | 66.6285 | 461.1496 | 273.2116 | 215.7172 | 170.4149 | 710.679 | 478.5262 | 320.1665 | 247.8205 | 690.9101 | 409.335 | 425.439 | 255.3215 | 650.5765 | 438.057 | 233.639 | 226.8622
2032 | 66.0167 | 66.942 | 441.1917 | 257.9024 | 203.8523 | 158.9306 | 686.8218 | 457.796 | 304.2406 | 233.1182 | 670.2274 | 391.7872 | 409.4684 | 241.4362 | 623.0671 | 415.3009 | 218.9621 | 211.4788
2033 | 66.0803 | 67.2569 | 422.0975 | 243.451 | 192.6441 | 148.2203 | 663.7654 | 437.9639 | 289.1071 | 219.2881 | 650.1639 | 374.9917 | 394.1028 | 228.3061 | 596.721 | 393.7268 | 205.2073 | 197.1386
2034 | 66.144 | 67.5733 | 403.8297 | 229.8094 | 182.0558 | 138.2317 | 641.483 | 418.9909 | 274.7266 | 206.2784 | 630.7009 | 358.9161 | 379.3186 | 215.8901 | 571.4889 | 373.2735 | 192.3167 | 183.7708
2035 | 66.2078 | 67.8912 | 386.3525 | 216.9322 | 172.0524 | 128.9162 | 619.9487 | 400.8398 | 261.0615 | 194.0406 | 611.8206 | 343.5297 | 365.0931 | 204.1493 | 547.3238 | 353.8827 | 180.236 | 171.3094
2036 | 66.2717 | 68.2106 | 369.6318 | 204.7765 | 162.6013 | 120.2285 | 599.1373 | 383.475 | 248.0763 | 182.5289 | 593.5055 | 328.8029 | 351.4047 | 193.047 | 524.1804 | 335.4993 | 168.9143 | 159.6931
2037 | 66.3356 | 68.5316 | 353.6346 | 193.302 | 153.6716 | 112.1263 | 579.0244 | 366.8625 | 235.737 | 171.7001 | 575.7387 | 314.7074 | 338.2326 | 182.5485 | 502.0157 | 318.0708 | 158.3038 | 148.8644
2038 | 66.3995 | 68.854 | 338.3298 | 182.4705 | 145.2342 | 104.5701 | 559.5868 | 350.9697 | 224.0115 | 161.5137 | 558.5037 | 301.2162 | 325.5569 | 172.6209 | 480.7881 | 301.5476 | 148.3599 | 138.77
2039 | 66.4635 | 69.1779 | 323.6874 | 172.2458 | 137.2616 | 97.5231 | 540.8017 | 335.7654 | 212.8693 | 151.9316 | 541.7846 | 288.3033 | 313.3587 | 163.2332 | 460.4582 | 285.8829 | 139.0406 | 129.3601
2040 | 66.5276 | 69.5034 | 309.6786 | 162.5942 | 129.7281 | 90.951 | 522.6472 | 321.2197 | 202.2814 | 142.918 | 525.566 | 275.944 | 301.6196 | 154.356 | 440.9879 | 271.0318 | 130.3068 | 120.5883
2041 | 66.5918 | 69.8304 | 296.2762 | 153.4833 | 122.6093 | 84.8218 | 505.1021 | 307.3042 | 192.2201 | 134.4392 | 509.833 | 264.1146 | 290.322 | 145.9617 | 422.3409 | 256.9523 | 122.1216 | 112.4113
2042 | 66.656 | 70.1589 | 283.4538 | 144.883 | 115.8821 | 79.1057 | 488.146 | 293.9915 | 182.6593 | 126.4634 | 494.5709 | 252.7922 | 279.4492 | 138.0238 | 404.4824 | 243.6041 | 114.4506 | 104.7888
2043 | 66.7202 | 70.489 | 271.1863 | 136.7646 | 109.5249 | 73.7747 | 471.7591 | 281.2555 | 173.574 | 118.9607 | 479.7657 | 241.9552 | 268.9849 | 130.5176 | 387.3791 | 230.9494 | 107.2614 | 97.6831
2044 | 66.7846 | 70.8206 | 259.4497 | 129.101 | 103.5171 | 68.803 | 455.9224 | 269.0712 | 164.9406 | 111.9032 | 465.4037 | 231.5828 | 258.9136 | 123.4196 | 370.9989 | 218.9521 | 100.5239 | 91.0593
2045 | 66.849 | 71.1538 | 248.2211 | 121.867 | 97.8396 | 64.1664 | 440.6172 | 257.4148 | 156.7367 | 105.2644 | 451.4717 | 221.6551 | 249.2205 | 116.7077 | 355.3114 | 207.5779 | 94.2096 | 84.8846
2046 | 66.9134 | 71.4885 | 237.4785 | 115.0382 | 92.474 | 59.8422 | 425.8259 | 246.2634 | 148.9408 | 99.0194 | 437.9567 | 212.1529 | 239.8911 | 110.3607 | 340.2872 | 196.7947 | 88.2919 | 79.1287
2047 | 66.9779 | 71.8249 | 227.2007 | 108.5921 | 87.4031 | 55.8094 | 411.531 | 235.595 | 141.5327 | 93.1449 | 424.8462 | 203.0581 | 230.9118 | 104.3589 | 325.8983 | 186.5716 | 82.7459 | 73.763
2048 | 67.0425 | 72.1628 | 217.3678 | 102.5072 | 82.6106 | 52.0484 | 397.7161 | 225.3888 | 134.4931 | 87.6189 | 412.1283 | 194.3532 | 222.2693 | 98.6836 | 312.1178 | 176.8796 | 77.5483 | 68.7612
2049 | 67.1072 | 72.5023 | 207.9604 | 96.7633 | 78.0813 | 48.5409 | 384.3649 | 215.6248 | 127.8036 | 82.4208 | 399.791 | 186.0215 | 213.9508 | 93.3168 | 298.9201 | 167.6911 | 72.6772 | 64.0986
2050 | 67.1719 | 72.8434 | 198.9602 | 91.3412 | 73.8006 | 45.2697 | 371.4619 | 206.2837 | 121.4468 | 77.5311 | 387.8231 | 178.0469 | 205.9441 | 88.2419 | 286.2803 | 158.9799 | 68.112 | 59.7521

## Data conversion
Currency Conversion [key: FZKTEKXN]
USD | Euro
1 | 1.08
Electrolyzer Efficiency Conversion
LHV | HHV | kWh/Nm3
33.33 | 39.33 | 3
Electrolyzer System Size Conversion
kW | MW | Nm3/h
1000 | 1 | LHV/ (3.6*1000)
CPI Values [key: KS57N5R6]
Year | CPI values | Year | CPI values
1990 | 8.1 | 2006 | 4.3
1991 | 9 | 2007 | 3.8
1992 | 7.6 | 2008 | 8.9
1993 | 7.1 | 2009 | 2.9
1994 | 10.2 | 2010 | 3.3
1995 | 9.1 | 2011 | 4.8
1996 | 6.5 | 2012 | 3.7
1997 | 5.6 | 2013 | 2.6
1998 | 5.1 | 2014 | 2.3
1999 | 3 | 2015 | 1.4
2000 | 3.4 | 2016 | 1.6
2001 | 3.8 | 2017 | 2.2
2002 | 2.9 | 2018 | 2.4
2003 | 3 | 2019 | 2.2
2004 | 3.5 | 2020 | 1.9
2005 | 4.1 | 2021 | 3.5

## Reference
key | author | publication_title
PNC5E4P4 | Jónsson, Valdimar K.; Gunnarsson, Ragnar L.; Árnason, Bragi; Sigfússon, Thorsteinn I. | The feasibility of using geothermal energy in hydrogen production
VHXNQH2L | C.E. Thomas; I.F. Kuhn Jr | Electrolytic hydrogen production infrastructure options evaluation
XLKIU5RX | Mayyas, Ahmad; Mann, Margaret | Manufacturing competitiveness analysis for hydrogen refueling stations
2RU3FEG2 | Torrance, John | Electrolyzer Manufacturing Progress and Challenges
3KPB4V25 | Mann, M. K.; Spath, P. L.; Amos, W. A. | Technoeconomic analysis of different options for the production of hydrogen from sunlight, wind, and biomass
I4DFCVKP | Nitsch, J.; Fischedick, M. | Eine vollständig regenerative Energieversorgung mit Wasserstoff – illusion oder realistische Perspektive. Wasserstofftag Essen
IRXLZEEL | Greg Glatzmaier; Dan Blake; Steve Showalter | Assessment of Methods Hydrogen Production Using Concentrated Solar Energy
NS4DELDA | Luca Bertuccioli; Chan, Alvin; Hart, David; Lehner, Franz; Madden, Ben; Standen, Eleanor | Development of Water Electrolysis in the European Union
NXDEHKBV | Lipman, T. E. | What will power the hydrogen economy? Present and future sources of hydrogen energy
RQZXZ4U9 | Da Silva, E.P.; Marin Neto, A.J.; Ferreira, P.F.P.; Camargo, J.C.; Apolinário, F.R.; Pinto, C.S. | Analysis of hydrogen production from combined photovoltaics, wind energy and secondary hydroelectricity supply in Brazil
Q7ESI3DJ | Zoulias, M.; Gløckner, R.; Lymberopoulos, N.; Vosseler, I.; Tsoutsos, Theocharis; Mydske, H.J.; Brodin, M.; Taylor, P. | Market potential analysis for the introduction of hydrogen energy technology in stand-alone power systems
JUMNYJ7L | Gutiérrez-Martín, F.; Ochoa-Mendoza, A.; Rodríguez-Antón, L.M. | Pre-investigation of water electrolysis for flexible energy storage at large scales: The case of the Spanish power system
MHD2Z8W8 | Smolinka, Tom; Günther, Martin; Ise, Fraunhofer; Garche, Jurgen | Status and development potential of water electrolysis for production of hydrogen from renewable sources energies
FUXIJFZK | Chardonnet, C.; Giordano, V.; De Vos, L.; Bart, F.; De Lacroix, T. | Study on early business cases for H2 in energy storage and more broadly power to H2 applications
F3SEFA3J | Hamdan, Monjid; Virginia Polytechnic Institute and University; Parker Hannifin Ltd domnick hunter Division | PEM Electrolyzer Incorporating an Advanced Low-Cost Membrane
NZHWYHZM | Noack, C.; Burggraf, F.; Hosseiny, S. S.; Lettenmeier, P.; Kolb, S.; Belz, S. | Studie über die Planung einer Demonstrationsanlage zur Wasserstoff-Kraftstoffgewinnung durch Elektrolyse mit Zwischenspeicherung in Salzkavernen unter Druck
EFIDKAZM | Langas, H. G. | Renewable hydrogen production with Norwegian electrolyser technology
BA8962BC | Mergel, J.; Carmo, M.; Fritz, D. | Status on technologies for hydrogen production
| Reksten, Anita H.; Thomassen, Magnus S.; Møller-Holst, Steffen; Sundseth, Kyrre | Projecting the future cost of PEM and alkaline water electrolysers; a CAPEX model including electrolyser plant size and technology development
LHVYPD7T | Smolinka, T. | Cost break down and analysis of PEM electrolysis systems for different industrial and Power to Gas applications
BRIB5VGW | Colella, Whitney G.; James, Brian D.; Moton, Jennie M.; Ramsden, Todd G.; Saur, Genevieve; ASME | NEXT GENERATION HYDROGEN PRODUCTION SYSTEMS USING PROTON EXCHANGE MEMBRANE ELECTROLYSIS
XVCBFLNW | Bañares-Alcántara, René; Iii, Gerard Dericks; Fiaschetti, Maurizio; Grünewald, Philipp; Lopez, Joaquín Masa; Tsang, Edman; Yang, Aidong; Ye, Lin; Zhao, Shangyi | Analysis of Islanded Ammonia-based Energy Storage Systems
IM67R5NG | Felgenhauer, Markus; Hamacher, Thomas | State-of-the-art of commercial electrolyzers and on-site hydrogen generation for logistic vehicles in South Carolina
GVXYWHFS | Oi, T | Feasibility study on hydrogen refueling infrastructure for fuel cell vehicles using the off-peak power in Japan
674F4TW4 | Brunetto, C.; Tina, G. | Optimal hydrogen storage sizing for wind power plants in day ahead electricity market
SX43SE9T | Floch, P; Gabriel, S; Mansilla, C; Werkoff, F | On the production of hydrogen via alkaline electrolysis during off-peak periods
YG2ZLVBY | González, A.; McKeogh, E.; Gallachóir, B.Ó. | The role of hydrogen in high wind energy penetration electricity systems: The Irish case
(Greiner et al., 2007) |  | #N/A
7CBLWZWB | Guandalini, Giulio; Campanari, Stefano; Romano, Matteo C. | Power-to-gas plants and gas turbines for improved wind energy dispatchability: Energy and economic assessment
ZI9F9V4N | Jentsch, Mareike; Trost, Tobias; Sterner, Michael | Optimal Use of Power-to-Gas Energy Storage Systems in an 85% Renewable Energy Scenario
PJW4NF43 | Jülch, Verena | Comparison of electricity storage options using levelized cost of storage (LCOS) method
AI2CJNHA | Lehner, Markus; Tichler, Robert; Steinmüller, Horst; Koppe, Markus | Power-to-Gas: Technology and Business Models
VCRIGIR8 | Linnemann, J; Steinbergerwilckens, R | Realistic costs of wind-hydrogen vehicle fuel production
8Q222D4I | Mansilla, C.; Dautremont, S.; Shoai Tehrani, B.; Cotin, G.; Avril, S.; Burkhalter, E. | Reducing the hydrogen production cost by operating alkaline electrolysis as a discontinuous process in the French market context
WBAK2CYV | Mansilla, C.; Louyrette, J.; Albou, S.; Bourasseau, C.; Dautremont, S. | Economic competitiveness of off-peak hydrogen production today – A European comparison
E9JWCEA6 | Muellerlanger, F; Tzimas, E; Kaltschmitt, M; Peteves, S | Techno-economic assessment of hydrogen production processes for the hydrogen economy for the short and medium term
25ZKF6DZ | Pleßmann, Guido; Erdmann, Matthias; Hlusiak, Markus; Breyer, Christian | Global Energy Storage Demand for a 100% Renewable Electricity Supply
6B5DSE5G | Schiebahn, Sebastian; Grube, Thomas; Robinius, Martin; Tietze, Vanessa; Kumar, Bhunesh; Stolten, Detlef | Power to gas: Technological overview, systems analysis and economic assessment for a case study in Germany
KNRRKYU7 | Sterner, M.; Stadler, I. | Energiespeicher: Bedarf, Technologien
54SEVHG2 | Ursua, Alfredo; Gandia, Luis M.; Sanchis, Pablo | Hydrogen Production From Water Electrolysis: Current Status and Future Trends
966USASJ | Walker, Sean B.; Mukherjee, Ushnik; Fowler, Michael; Elkamel, Ali | Benchmarking and selection of Power-to-Gas utilizing electrolytic hydrogen as an energy storage alternative
5L8VUUAN | Winkler-Goldstein, Raphael; Rastetter, Aline | Power to Gas: The Final Breakthrough for the Hydrogen Economy?
5ACAKIRD | Zakeri, Behnam; Syri, Sanna | Electrical energy storage systems: A comparative life cycle cost analysis
FTS5RRAN | Zhang, Guotao; Wan, Xinhua | A wind-hydrogen energy storage system model for massive wind energy curtailment
BJD42CD2 | Albrecht, Uwe; Altmann, Matthias; Michalski, Jan; Raksha, Tetyana; Weindorf, Werner | Analyse der Kosten Erneuerbarer Gase
I5K5GK77 | ChemCoast | Fahrplan zur Realisierung einer Windwasserstoff-Wirtschaft in der Region Unterelbe
SDNYST35 | CopenHydrogen | Project Economy
BZRTVT7U | Dena | Power to Gas system solution: Opportunities, challenges and parameters on the way to marketability
dena2016potentialatlas
5PCFHVQW | Eichman, Josh | Hydrogen Energy Storage (HES) and Power-to-Gas Economic Analysis
FJEB8UYC | ENEA Consulting | The potential of power-to-gas
DFHGBJ7X | Frank Graf; Manuel Götz; Tanja Schaaf; Robert Tichler | Technoökonomische Studie von Power-to-Gas-Konzepten Teilprojekte B-D Abschlussbericht
9A9D2N79 | Greaves, Celia | Power to Gas: Energy Storage and Methanation
K35XBEHA | Harrison, K. W.; Martin, G. D.; Ramsden, T. G.; Kramer, W. E.; Novachek, F. J. | Wind-To-Hydrogen Project: Operational Experience, Performance Testing, and Systems Integration
RUVHN27B | Levene, J; Kroposki, B; Sverdrup, G | Wind Energy and Production of Hydrogen and Electricity -- Opportunities for Renewable Hydrogen: Preprint
6Z4MYYJA | Liese, Dr Thorsten | Experiences and Results from the RWE Power-to-Gas-Projekt at Niederaußem site
2PE36GI2 | Lymberopoulos, Nicolas | Hydrogen from Renewables
VGHDQM3E | Penev, Michael | Hybrid Hydrogen Energy Storage
4FUYHK6W | Rajeshwar, Krishnan; McConnell, Robert; Licht, Stuart | Solar Hydrogen Generation: Toward a Renewable Energy Future
QQ5D5ULF | Schaber, Katrin; Steinke, Florian; Hamacher, Thomas | Managing Temporary Oversupply from Renewables Eciently: Electricity Storage Versus Energy Sector Coupling in Germany
KNAE7NVB | Smith, A. F. G.; Newborougg, M. | Low-Cost Polymer Electrolysers and Electrolyser Implementation Scenarios for Carbon Abatement
LEVSNYID | Smolinka, Tom( Fraunhofer Ise); Gunther, Martin (Fraunhofer Ise); Garche, Jurgen (Fcbat) | Stand und Entwicklungspotenzial der Wasserelektrolyse zur Herstellung von Wasserstoff aus regenerativen Energien
K62DC77V | Sorensen, Bent; Meibom, Peter; Nielsen, Lars Henrik; Karlsson, Kenneth; Hauge Pedersen, Aksel; Lindboe, Hans Henrik; Bregnebaek, Lars | Comparative assessment of hydrogen storage and international electricity trade for a Danish energy system with wind power and hydrogen-fuel cell technologies
E83Z6NBK | Steinmuller, Horst; Reiter | Power to Gas - eine Systemanalyse
RVU7GWW8 | Vanhoudt, Wouter; Barth, Frederic; Lanoix, Jean-Christophe; Neave, Joel; Schmidt, P.; Weindorf, W.; Raksha, Tetyana; Zerhusen, J.; Michalski, J. | Power-to-gas: Short term and long term opportunities to leverage synergies between the electricity and transport sectors through power-to-hydrogen
2JKQMWSV | Wenske, Michael | Wasserstoff – Herstellung per Elektrolyse
WXDBV5IY | Guinot, Benjamin; Montignac, Florent; Champel, Bénédicte; Vannucci, Didier | Profitability of an electrolysis based hydrogen production plant providing grid balancing services
UB98SGNF | Hočevar, Stanko; Summers, William | Hydrogen Production
NH4XWMEE | Kato, Takeyoshi; Kubota, Mitsuhiro; Kobayashi, Noriyuki; Suzuoki, Yasuo | Effective utilization of by-product oxygen from electrolysis hydrogen production
WPWXGV3V | Klumpp, Florian | Comparison of pumped hydro, hydrogen storage and compressed air energy storage for integrating high shares of renewable energies—Potential, cost-comparison and ranking
6A6RCTFV | Sørensen, B | Hydrogen as an energy carrier: scenarios for future use of hydrogen in the Danish energy system
8TBG2MTN | Aicher, Thomas; González, María; Schaub, G.; Götz, Manuel | Arbeitspaket 5: Betrachtungen des Gesamtsystems im Hinblick auf Dynamik und Prozessintegration
BJTCYA6X | Ainscough, C. ; Peterson | Hydrogen production cost from PEM electrolysis
SLMR3CNV | Menanteau, Philippe; Quemere, Marie-Marguerite; Le Duigou, Alain; Le, Sandra | Une analyse economique de la production d'hydro en e a partir d electricit eolienne pour des usages transport
EHQV7A64 | Ramsden, T.; Steward, D.; Zuboy, J. | Analyzing the Levelized Cost of Centralized and Distributed Hydrogen Production Using the H2A Production Model, Version 2
8QT4XA2T | Schoof, Rene | Power to Gas Erfahrungen an den Standorten Falkenhagen und Hamburg
EJSERQFE | Simbeck, D. ; Chang | Hydrogen Supply: Cost Estimate for Hydrogen Pathways - Scoping Analysis
WVMBSLUW | Wei, Max; Stadler, Michael; McKone, Thomas | V.I.7 A Total Cost of Ownership Model for PEM Fuel Cells in Combined Heat and Power and Backup Power Applications
FZKTEKXN | The World Bank | Official Exchange Rate
KS57N5R6 | The World Bank | Inflation, consumer prices